## LAB
Lession Plan
Name of Faculty : |  | MR. PARMOD SAROWA
Discipline: |  | ELECTRICAL ENGG
Semester: |  | 6TH
Subject: |  | POWER SYSTEM-II
Code: |  | EE-328-F
Lession Plan Duration : January 2018 to April 2018
Work load (Practical) Per Week: Practical-2/4/6 |  | Practical-2
week | Practical
| Practical Day | Topic
1 | 1 | Introduction of Power System lab and its equipment
2 | 2 | To draw the operating characteristic of IDMT relay
3 | 3 | To study the performance of Earth fault relay
4 | 4 | To study the performance of a over voltage relay
5 | 5 | To study the performance of under voltage relay
6 | 6 | Testing of breakdown strength of a transformer oil
First internal Assesment
7 | 7 | To study the ferranti effect in a model of transmission line
8 | 8 | To study characteristic of MCB & HRC fuse
9 | 9 | To study flash point test of transformer oil
10 | 10 | To study radial feeder performance when fed at one end b)fed at both end
11 | 11 | To study radial feeder performance when fed at both end
12
Second internal Assesment
13
14
15
Final internal Assesment

## LECTURE
Lession Plan
Name of Faculty : |  | MR. PARMOD SAROWA
Discipline: |  | ELECTRICAL ENGG.
Semester: |  | 6TH
Subject: |  | POWER SYSTEM-II
Code: |  | EE-312-F
Lession Plan Duration : January 2018 to April 2018
Work load (Lecture and Tutorial) Per Week: Lecture-3, Tutorial-1
week | Theory
| Lecture Day | Topic
1 | 1 | Introduction to symmetrical fault analysis
| 2 | Transient on a transmission line
| 3 | Short circuit of synchronous machine at noload and full load
| Tutorial | Problem Related to Above Lectures
2 | 4 | Symmetrical component transformation
| 5 | Phase shift in star-delta transformation
| 6 | Sequence impedences
| Tutorial | Problem Related to Above Lectures
3 | 7 | Single line to ground fault
| 8 | Line to line fault
| 9 | Double line to ground fault, open conductor fault
| Tutorial | Problem Related to Above Lectures
4 | 10 | Introducion to circuit breaker
| 11 | Theory of arc interruption,circuit breaker
| 12 | Circuit breaker ratings,restriking voltage transients
| Tutorial | Assignment
5 | 13 | Current chopping
| 14 | Duties of switch gear ,automatic switch
| 15 | Air circuit breaker,bulk oil breaker
| Tutorial | Problem Related to Above Lectures
6 | 16 | Minimum oil circuit breaker
| 17 | Air blast circuit breaker
| 18 | SF6 circuit breaker
| Tutorial | Seminar
First Sessional
7 | 19 | Vacuum and dc circuit breaker
| 20 | Appratus protection:transformer
| 21 | Generator,motor
| Tutorial | Problem Related to Above Lectures
8 | 22 | Bus zone protection
| 23 | Protective relay:nature and cause of fault
| 24 | Conseqences ,zone of protection
| Tutorial | Assignment
9 | 25 | Essential qualities,primary and backup protections
| 26 | Essential qualities ,primary and backup protection
| 27 | Relay classification,principal types of electromagnetic relay
| Tutorial | Problem Related to Above Lectures
10 | 28 | Atrractive armature,induction disc,induction cup type relay
| 29 | Over current,instataneous over current ,idmt relay
| 30 | Directional and differential relays,distance relay
| Tutorial | Problem Related to Above Lectures
11 | 31 | Plain impedence,mho,reactance,offset mho type
| 32 | Transmission line &feeder protection
| 33 | Introduction ,over current ,distance,pilot wire
| Tutorial | Assignment
12 | 34 | Carrier current protection,neutral grounding
| 35 | Classification of static relay
| 36 | Amplitude and phase comparators
| Tutorial | Problem Related to Above Lectures
Second Sessional
13 | 37 | Block -spike and block-average comparators
| 38 | Rectifier type relays
| 39 | Introduction to digital relay:basic principles
| Tutorial | Problem Related to Above Lectures
14 | 40 | Application of microproessor and computers
| 41 | Continue to application
| 42 | Travelling wave relay
| Tutorial | Seminar
15 | 43 | Relaying scheme based on microwave
| 44 | Relaying scheme based optical fiber link
| 45 | Continue to optical fiber link
| Tutorial | Problem Related to Above Lectures
Third Sessional