## LECTURE
Lession Plan
Name of Faculty : | MR. DESHVEER
Discipline: | ELECTRICAL ENGG.
Semester: | 4TH
Subject: | TRANSMISSION AND DISTRIBUTION
Code: | EE-212-F
Lession Plan Duration : January 2018 to April 2018
Work load (Lecture and Tutorial) Per Week: Lecture-3, Tutorial-1
week | Theory
| Lecture Day | Topic
1 | 1 | Introduction of subject
| 2 | Structure of power system
| 3 | Indoor and outdoor substations
| Tutorial | Problem Related to Above Lectures
2 | 4 | Indoor and outdoor substations continue
| 5 | Equipment for substation
| 6 | Equipment for substation continue
| Tutorial | Problem Related to Above Lectures
3 | 7 | Layout of substation
| 8 | Auxillary supply
| 9 | Introduction to distribution systems
| Tutorial | Assignment/seminar
4 | 10 | Radial,ring mains distribution system
| 11 | Network distribution system
| 12 | Comparison of various type of ac and dc system
| Tutorial | Problem Related to Above Lectures
5 | 13 | Introduction to transmission lines
| 14 | Calculation of line parameters
| 15 | Ferranti effect
| Tutorial | Seminar
6 | 16 | Proximity effect
| 17 | Model of short,medium,long transmission lines
| 18 | Model of short,medium,long transmission lines continue
| Tutorial | Problem Related to Above Lectures
First Sessional
7 | 19 | Performance of transmission line
| 20 | Circle diagram
| 21 | Capacity of synchronous condensor
| Tutorial | Problem Related to Above Lectures
8 | 22 | Tuned line
| 23 | Tuned line continue
| 24 | Voltage control
| Tutorial | Seminar
9 | 25 | Voltage control continue
| 26 | Introduction to mechanical design
| 27 | Sag calculation
| Tutorial | Problem Related to Above Lectures
10 | 28 | Stress calculation
| 29 | Effect of ice and wind
| 30 | Dampers
| Tutorial | Assignment
11 | 31 | Dampers continue
| 32 | Insulators
| 33 | Type of insulators
| Tutorial | Problem Related to Above Lectures
12 | 34 | Insulating materials
| 35 | Voltage distribution over insulator string
| 36 | Equalizer ring
| Tutorial | Problem Related to Above Lectures
Second Sessional
13 | 37 | Cables,types of LV and HV cables
| 38 | Grading of cables,capacitance
| 39 | Ratings
| Tutorial | Assignment/seminar
14 | 40 | Corona:phenomenon
| 41 | Critical voltage,power loss,reduction in losses
| 42 | Radio-interference
| Tutorial | Problem Related to Above Lectures
15 | 43 | HVDC-transmission-types of link
| 44 | Advantage
| 45 | Limitations
| Tutorial | Problem Related to Above Lectures
Third Sessional